# Optimal Shunt Compensators At Nonsinusoidal Busbars

El-Amin, I.M. Duffuaa, S.O. Bawah, A.U.;King Fahd Univ. of Pet.Miner., Dhahran;

Power Systems, IEEE Transactions on;Publication Date: May 1995;Vol: 10,Issue: 2

King Fahd University of Petroleum & Minerals

http://www.kfupm.edu.sa

Summary

A model for determining an optimal shunt capacitor value at nonsinusoidal busbars combining three basic criteria maximizing the power factor, minimizing the line losses, and maximizing the transmission efficiency is developed. The choice of the capacitor value is constrained by the values that may cause resonance. This model was solved employing the penalty function approach and the golden Section Search algorithm for solving the linear load case. Furthermore, nonlinear loads operating under nonsinusoidal conditions were investigated. The model for the nonlinear load is a two variable problem in L (inductor) and C (capacitor). The Direct Search Polytope algorithm is used. The solution of this model yields an optimal shunt LC compensator for the nonlinear load. However, since there are limitations on the practical values of shunt capacitor, a discretizing approach making use of standard shunt capacitor values is employed to guarantee a solution that can be implemented

For pre-prints please write to:abstracts@kfupm.edu.sa